## SyntheticVideos
Uncalibrated Zero Phase
Expected Amp (Pixels) | Computed Amp (Pixels) | Expected w0 (radians) | Computed w0 (rad) | amp diff | w0 diff
20 |  | 0.1 |  | 20 | 0.1
20 |  | 0.1 |  | 20 | 0.1
20 |  | 0.1 |  | 20 | 0.1
20 |  | 0.1 |  | 20 | 0.1
Avg Amp Error (pixels) | 20
Avg w0 Error (radians) | 0.1
Calibrated Zero Phase
Expected Amp (mm) | Computed Amp (mm) | Expected f0 (Hz) | Computed f0 (Hz) | amp diff | w0 diff
2 |  | 180 |  | 2 | 180
2 |  | 180 |  | 2 | 180
2 |  | 180 |  | 2 | 180
2 |  | 180 |  | 2 | 180
Avg Amp Error (mm) | 2
Avg f0 Error (Hz) | 180
Uncalibrated Phase Diff (Pi+0.5 R-L)
Fold | Computed Phase (rad) | [0,2pi) Wrap | Diffs (Not Wrapped)
ru |  | 0 | 0
rl |  | 0 | 0
lu |  | 0
ll |  | 0
R-L Phase (rad) | Computed R-L Phase (rad) | Expected w0 (radians) | Computed w0 (rad) | diff phase | w0 diff
3.6416 | 0 | 0.12 |  | 3.6416 | 0.12
3.6416 | 0 | 0.12 |  | 3.6416 | 0.12
|  | 0.12 |  |  | 0.12
|  | 0.12 |  |  | 0.12
Avg Phase Diff Error (rad) | 3.6416
Avg w0 Error (radians) | 0.12
Calibrated Phase Diff (Pi-0.3 R-L)
Fold | Computed Phase (rad) | [0,2pi) Wrap | Diffs (Not Wrapped)
ru |  | 0 | 0
rl |  | 0 | 0
lu |  | 0
ll |  | 0
R-L Phase (rad) | Computed R-L Phase (rad) | Expected f0 (Hz) | Computed f0 (Hz) | diff phase | w0 diff
2.8416 | 0 | 220 |  | 2.8416 | 220
2.8416 | 0 | 220 |  | 2.8416 | 220
|  | 220 |  |  | 220
|  | 220 |  |  | 220
Avg Phase Diff Error (rad) | 2.8416
Avg f0 Error (Hz) | 220
Uncalibrated Zero Phase Kymogram
Expected Amp (Pixels) | Computed Amp (Pixels) | Expected w0 (radians) | Computed w0 (rad) | amp diff | w0 diff
15 |  | 0.2 |  | 15 | 0.2
15 |  | 0.2 |  | 15 | 0.2
15 |  | 0.2 |  | 15 | 0.2
15 |  | 0.2 |  | 15 | 0.2
Avg Amp Error(pixels) | 15
Avg w0 Error (radians) | 0.2
Uncalibrated Phase Diff Kymogram (Pi-0.3 R-L)
Fold | Computed Phase (rad) | [0,2pi) Wrap
ru |  | 0
rl |  | 0
lu |  | 0
ll |  | 0
R-L Phase (rad) | Computed R-L Phase (rad) | Expected w0 (radians) | Computed w0 (rad) | diff phase | w0 diff
2.6416 | 0 | 0.25 |  | 2.6416 | 0.25
2.6416 | 0 | 0.25 |  | 2.6416 | 0.25
|  | 0.25 |  |  | 0.25
|  | 0.25 |  |  | 0.25
Avg Phase Diff Error (rad) | 2.6416
Avg w0 Error (radians) | 0.25

## Real Video
Uncalibrated Video
Old Version
Fold | freq | a1 | p1 | [0,2pi) Wrap | R-L Phase
ru |  |  |  | 0 | 0
rl |  |  |  | 0
lu |  |  |  | 0 | 0
ll |  |  |  | 0
New Version
Fold | freq | a1 | p1 | [0,2pi) Wrap | R-L Phase | freq diff | amp diff | phase diff
ru |  |  |  | 0 | 0 | 0 | 0 | 0
rl |  |  |  | 0 |  | 0 | 0 | 0
lu |  |  |  | 0 | 0 | 0 | 0
ll |  |  |  | 0 |  | 0 | 0
Avg Freq Error | 0
Avg Amp Error | 0
Avg Phase Diff Error | 0
Calibrated Video
Old Version
Fold | freq | a1 | p1 | [0,2pi) Wrap | R-L Phase
ru |  |  |  | 0 | 0
rl |  |  |  | 0
lu |  |  |  | 0 | 0
ll |  |  |  | 0
New Version
Fold | freq | a1 | p1 | [0,2pi) Wrap | R-L Phase | freq diff | amp diff | phase diff
ru |  |  |  | 0 | 0 | 0 | 0 | 0
rl |  |  |  | 0 |  | 0 | 0 | 0
lu |  |  |  | 0 | 0 | 0 | 0
ll |  |  |  | 0 |  | 0 | 0
Avg Freq Error | 0
Avg Amp Error | 0
Avg Phase Diff Error | 0
Uncalibrated Kymograph
Old Version
Fold | freq | a1 | p1 | [0,2pi) Wrap | R-L Phase
ru |  |  |  | 0 | 0
rl |  |  |  | 0
lu |  |  |  | 0 | 0
ll |  |  |  | 0
New Version
Fold | freq | a1 | p1 | [0,2pi) Wrap | R-L Phase | freq diff | amp diff | phase diff
ru |  |  |  | 0 | 0 | 0 | 0 | 0
rl |  |  |  | 0 |  | 0 | 0 | 0
lu |  |  |  | 0 | 0 | 0 | 0
ll |  |  |  | 0 |  | 0 | 0
Avg Freq Error | 0
Avg Amp Error | 0
Avg Phase Diff Error | 0